Project Health and Safety Plan

(INSERT JOB NAME)

Located at

(INSERT JOB ADDRESS)

(INSERT PROJECT PERSONNEL WITH MOBILE PHONE NUMBERS)

CUSTOMER

COMPANY

SUBCONTRACTORS

Table of Contents

General Safety Guidelines	3

Job Hazard Analysis Guide	8

Job Hazard Analysis Form	10

Appendix A  
Job Hazard Analysis Example	11

Appendix B 
Hazards and Safe Work Procedures for Common Job Components in Mechanical Construction	13

Appendix C 
Signature Page	34

General Safety Guidelines

FOR [INSERT JOB NAME AND NUMBER]

ON SITE EMERGENCIES ---- CALL 911, then call [INSERT WHO TO CONTACT]

These Safety Practices Guidelines are comprised of minimum requirements for [INSERT COMPANY NAME]. (hereinafter “[INSERT COMPANY NAME]”) while performing work for [INSERT CUSTOMER NAME] (hereinafter "[INSERT NAME]"). [INSERT COMPANY NAME] will comply with all local, state and federal regulations including but not limited to:

OSHA 29 CFR 1910

OSHA 29 CFR 1926

EPA 40 CFR as required

PA Department of Labor and Industry

PA Department of Environmental Resources

- Responsibility for Compliance

  - [INSERT COMPANY NAME], when advised of being awarded the contract, shall ensure that all necessary employees are made aware of the content of these Guidelines prior to beginning work. [INSERT COMPANY NAME] shall be responsible for compliance with them during the performance of work at [INSERT PROJECT NAME].

  - [INSERT CUSTOMER NAME]’s Agent shall have the right to stop work under this contract at any time if the work environment is identified by [INSERT CUSTOMER NAME]’s Agent as imminently hazardous to site employees or property.

  - The principal contractor [IF WE ARE PRINCIPAL CONTRACTOR REPLACE WITH [INSERT COMPANY NAME]] has the responsibility for ensuring that subcontractors have copies of and are complying with these Guidelines.

  - [INSERT COMPANY NAME] shall designate a supervisor with safety responsibility on each shift and advise [INSERT CUSTOMER NAME]’s Agent of his or her name in advance of each shift.

- Entrance to Property

  - [INSERT CUSTOMER NAME]'s Agent shall advise [INSERT COMPANY NAME] and subcontractors as to the entrance area and/or parking facilities to be used by the contractor, its employees, agents and subcontractors.

  - [INSERT COMPANY NAME] shall ensure that only those persons having authorized business in connection with the contract are allowed on the work site.

- Traffic and Vehicles

  - All traffic on [INSERT CUSTOMER NAME] property shall observe a 15 mph speed limit, unless conditions warrant lower speeds.

  - All vehicles and persons are subject to search when entering and/or leaving [INSERT SITE NAME] property.

- Smoking

Smoking is forbidden on [INSERT SITE NAME] property in unauthorized areas. [INSERT CUSTOMER NAME]'s Agent shall have the right to order persons observed smoking in unauthorized areas to cease, to leave such area and/or to deny subsequent access to those areas by such persons.

- Work Permits & Programs

  - Prior to performing hot work at [INSERT SITE NAME], [INSERT COMPANY NAME] will have a hot work program in place as required by law per OSHA 1910.252 and OSHA 1926 Subpart J and utilize an FM Global hot work permit obtained from [INSERT SITE NAME] Security on each and every occasion of hot work. This permit must be completed in full, posted appropriately during hot work and returned to [INSERT SITE NAME] Security at the conclusion of hot work.

  - [INSERT COMPANY NAME]’s fall protection program is in place fully implemented utilizing proper equipment and procedures meeting all applicable codes, regulations and industry standard practices.

  - Work involving entry into confined spaces, limited access vessels or below-grade pits shall not be permitted except by written authorization of the [CONTRACTOR’S SAFETY REPRESENTATIVE] will fully implement a confined space program that meets all applicable codes, regulations and industry standard practices.

  - A total energy deactivation system (lockout/tagout) is required while work is being performed by contractor on any equipment or machinery where there is a possibility of injury or property damage from accidental starting of that equipment or machinery.

- Pressure Testing

Pipes or vessels shall not be tested by [INSERT COMPANY NAME] using compressed air or gas or service fluid.

- Plant and Contractor Equipment

  - [INSERT COMPANY NAME] personnel shall not operate any [INSERT SITE NAME] equipment not directly associated with their designated duties, nor shall any valves, switches or electric circuits be opened or closed without prior written notice to [INSERT CUSTOMER NAME]’s Agent.

  - Motors, compressors, pumps and other equipment belonging to the [INSERT COMPANY NAME] shall be permitted inside tank dike areas only in accordance with local permit procedures.

- Explosives

If the use of explosives is required, their use and handling shall be subject to written notification to [INSERT CUSTOMER NAME]'s Agent and written authorization from [INSERT CUSTOMER NAME]'s Agent and [INSERT COMPANY NAME]'s safety supervisor, prior to the start of the blasting operations. The person conducting the blasting shall be certified.

- Fire Protection

  - Precautions shall be taken by the [INSERT COMPANY NAME] to prevent the outbreak of fire.

  - Paper, rags, trash and other combustible materials shall be disposed of only in safe industry-approved containers.

  - Flammable liquids such as gasoline, kerosene, fuel oil, etc. shall be transported and stored in industry-approved metal containers designed specifically for handling these liquids. Such flammable liquids shall be stored away from possible sources of heat or ignition and clear of other materials and equipment.

  - Fire equipment (e.g. extinguishers, hose reels, hydrants, water main valves) shall not be altered or tampered with or rendered inaccessible.

  - The finding of a leak or indication of gas around piping or vessels shall be reported at once by phoning [INSERT CUSTOMER/PHONE NUMBER]. All "hot work" in the area shall cease immediately on the discovery of the hazard.

  - Only cleaning solvents that have been designated as "safe" by an approval agency representative may be used for cleaning tools, etc.

  - [INSERT COMPANY NAME] shall be responsible for the safety and fire protection training of its employees.

  - Appropriate fire protection equipment (such as fire extinguishers) shall be provided by [INSERT COMPANY NAME].

  - Any fires should be immediately reported by phoning [INSERT SITE/CUSTOMER PHONE NUMBER]. All possible measures shall be taken immediately by any personnel in the area to protect the safety of all personnel and to extinguish the fire.

  - All equipment shall be shut down and removed from the fire location if feasible and access roads shall be cleared.

- Medical Aid

  - [INSERT COMPANY NAME] shall provide its own first aid personnel, equipment and supplies which shall meet requirements of local, state and federal regulations.

  - In the event of a medical emergency, CALL 911, then call [INSERT CONTACT AND PHONE NUMBER.  The local ambulance authority will be summoned. All charges for the ambulance and off-site medical treatment are the responsibility of [INSERT COMPANY NAME].

- Chemical/Spills

  - Chemical substances are not permitted to be placed into any sewer system, onto the ground or in trash containers or dumpsters.

  - All empty chemical containers are to be removed from [INSERT SITE/CUSTOMER NAME] by the contractor.

  - The spill or release of any chemical substance to the environment must be immediately reported to [INSERT CUSTOMER NAME].

  - Air contamination generated from work operations resulting in fumes, dusts or vapors must be reported to [CUSTOMER NAME]’s Agent.

- Noise

Contractor will inform [INSERT CUSTOMER NAME]'s Agent of work producing noise levels in excess of 85 decibels.

- Personal Protective Equipment

Personal protection equipment shall be worn by [INSERT COMPANY NAME] personnel on the job site as required by local, state and federal regulations.   [INSERT COMPANY NAME] shall pay for and provide such equipment.

- Housekeeping

  - Good housekeeping shall be maintained at all times. All walking and working areas and access to emergency exits shall be kept clean and free from obstructions.

  - All ditches, holes, excavations, overhead work, etc., shall be properly barricaded and, where necessary, provided with warning lights.

- Accident Reporting

  - [INSERT COMPANY NAME] assumes the responsibility of promptly and accurately reporting all on-site accidents/injuries to the proper governmental authorities and [INSERT CUSTOMER NAME]'s Agent.

  - Serious accidents, as listed below, are to be reported immediately and confirmed in writing within 24 hours to [INSERT CUSTOMER NAME]'s Agent.

  - An incident that results in [INSERT COMPANY NAME] employee fatalities or multiple hospitalization.

  - Property damage resulting in losses in excess of $10,000.

  - It is the responsibility of [INSERT COMPANY NAME] to maintain and file required OSHA, DOT, Worker's Compensation and other required accident forms.

  - Copies of all governmental safety or health citations (OSHA, PADER, USCG, DOT, USGS, etc.) against [INSERT COMPANY NAME] or any subcontractor working for [INSERT COMPANY NAME] while performing under this contract shall also be promptly sent to [CUSTOMER NAME]'s Agent.

- Miscellaneous

  - The use, possession, distribution or sale of any controlled substance or alcoholic beverage by any person while on the [INSERT SITE NAME] premises or engaged in performing under this Contract for [INSERT CUSTOMER NAME] is prohibited. Prescription medication may be used upon written notice to contractor from the person's physician that it will not impair work performance.

  - Compressed gas cylinders shall be secured in place on a cart or chained to a support in an upright position. All cylinders not in use shall be protected with protective valve caps.  Compressed oxygen and flammable gases shall not be stored near combustible materials, but shall be stored in accordance with [INSERT CUSTOMER NAME] safety procedures and local, state and federal regulations.

  - No firearms or deadly weapons are permitted on [INSERT SITE NAME] property except as may be authorized by [INSERT CUSTOMER NAME]'s Agent.

  - All contractor safety equipment shall be properly maintained and operable in accordance with manufacturer's instructions and applicable local, state or federal regulations.

  - [INSERT CUSTOMER NAME]'s Agent and the contractor shall review the final/completed work site to determine that hazards related to the work site have been removed in accordance with [INSERT SITE NAME]requirements before [INSERT COMPANY NAME] leaves the area.

- Other Applicable Standards

[INSERT COMPANY NAME] agrees that all work performed will be in strict accordance with safety requirements, precautions and procedures whether required by regulations, this Contract or industry standards or practices.

- Termination and Warnings

Without limitation to any other remedies available to [INSERT CUSTOMER NAME] under the contract to which this is made a part and incorporated therein, in the event of violation or breach of these Guidelines, [INSERT CUSTOMER NAME]'s Agent shall have the right to terminate this agreement and hold the contractor liable for any and all damages resulting therefrom. [INSERT CUSTOMER NAME]'s Agent shall attempt to give contractor notice of the violation or breach and allow contractor a reasonable time as stated in the notice to correct or remedy the violation or breach depending on the nature and seriousness of the violation or breach before exercising the right of termination.

- Access to Roofs of Buildings

Roof access must always be considered as a potentially hazardous situation. The danger of falling must always be considered and the hazards of toxic and/or poisonous atmospheric conditions are possible. To minimize the risks to all persons who must go on the roof, the following practices shall be followed:

  - Prior to commencing work, [INSERT COMPANY NAME] shall meet with [INSERT CUSTOMER NAME]'s Agent to establish the procedure which shall be followed for scheduling roof work and access to the roof.

  - Prior to scheduling work and entering a roof area, [INSERT COMPANY NAME] shall obtain approval from [INSERT CUSTOMER NAME]'s Agent.

  - Roof access shall be scheduled in advance wherever possible, thus avoiding delays and/or unexpected restrictions.

  - Under certain conditions, when building operations cannot be suspended and [INSERT COMPANY NAME] wishes to enter the roof area, respiratory equipment shall be required to be worn. To ensure the safety of those who enter the area, the following precautions shall be adhered to:

    - At least two persons must be on the roof at all times and working in close proximity.

    - [INSERT COMPANY NAME] shall have written certification that each employee is physically and psychologically able to perform the work while using the respiratory equipment.

    - [INSERT COMPANY NAME] will have written certification that each employee has been properly trained in the use and maintenance of the respiratory equipment used at the job site.

    - The type of respiratory equipment that will be approved for use on the roof of the buildings designated as hazardous is any self-contained breathing apparatus. This equipment is a full-face piece operated in the pressure demand mode or combination supplied-air respirator with full-face piece, or operated in any positive pressure mode with an auxiliary self-contained  breathing apparatus.

- Hazardous Substances in Workplace

In meeting the requirements of the Federal Department of Labor, Occupational Safety and Health Administration (OSHA) Hazard Communication Standard, OSHA Occupational Exposures to Hazardous Chemicals in Laboratories and the Pennsylvania Department of Labor and Industry, Worker and Community Right-to-Know Act, [INSERT CUSTOMER NAME]'s Agent will provide information to [INSERT COMPANY NAME] as to the hazardous substances in the area(s) where the contractor will work. Similarly, [INSERT CUSTOMER NAME] will require [INSERT COMPANY NAME] to provide information on any hazardous substances the contractor will bring on to the site.

- Use of Utilities

All [INSERT COMPANY NAME] personnel, including its employees, subcontractors, assigns and affiliates, are required to obtain written approval from [INSERT CUSTOMER NAME] prior to access and utilization of any/all utilities to perform work at [INSERT SITE NAME]. All attempts must be made to access and utilize utilities in facility common areas and under no circumstance is any Contractor, including their employees, subcontractors, assigns and affiliates, permitted to utilize or access any utility in tenant space without prior written authorization from [INSERT CUSTOMER NAME]. Unauthorized use of utilities by any/all [INSERT COMPANY NAME] personnel, including its employees, subcontractors, assigns and affiliates, will be at the sole cost and full liability of same.

Job Hazard Analysis Guide

Introduction

Performing job hazard analyses (JHA) on jobs that include one or more potentially hazardous steps will significantly reduce the risk of workplace incidences that could result in injury and/or property damage. Developing JHAs isn’t difficult, but it can be time consuming. This guide gives you a head start by providing a listing of hazards and corresponding safe work procedures for various job components (Appendix B) that you can use to quickly develop effective, project-specific JHAs.

How to Use this Guide

Producing completed, generic JHAs defeats the purpose of job hazard analysis. Rather, the user must carefully analyze each potentially hazardous job step. Individual job components may not require much change, if any at all, however. For this reason, it doesn’t make sense to continuously reinvent the wheel. If your company is preparing to hang pipe, for example, you’ll likely need an aerial lift. The hazards associated with aerial lift use and the corresponding safe work procedures are generally the same every time. Simply turn to Appendix B, extract the section on aerial lifts, tailor it if necessary, and incorporate it into your JHA. Follow these guidelines and the process will be much less time consuming, easier, and much more cost effective than starting from scratch.

For more detailed information on developing JHAs, refer to “Developing Job Hazard Analyses (JHAs) for your Projects” below.

Identifying the Jobs that Require Hazard Analysis

Begin by determining whether an upcoming job contains one or more potentially hazardous steps by asking yourself the questions below, which represent common hazards in the mechanical construction industry. These questions do not cover every conceivable hazard that you may need to consider, but they do cover our industry’s most common hazards.

- Could an affected worker experience a fall from an elevation that could result in fractures, contusions, lacerations, loss of consciousness, or death?

- Could an affected worker be struck by or against an object that could result in crushed body parts, fractures, or loss of consciousness?

- Could an affected worker get caught in an excavation cave-in?

- Could an affected worker be exposed to energized electrical conductors?

- Will the job involve the manual handling of particularly heavy or bulky objects which could result in a back injury, a hernia, a shoulder injury, or a laceration to a worker’s hand?

- Has a normally routine job become non-routine due to weather, scheduling changes, equipment problems, or similar circumstances?

Developing Job Hazard Analyses (JHAs) for Your Projects

Much of what you will need to develop JHAs for your projects can be found in Appendix B. For example, when an extension ladder is needed for a particular job, Appendix B provides the common hazards and safe work procedures associated with extension ladder use for you. To develop your own JHAs:

- Identify job components for each potentially hazardous job.

- Identify and record the hazards associated with each job component by considering whether a worker performing the job could fall to a lower level, be struck by or struck against a large or heavy object, get caught in an excavation cave-in, be exposed to an energized electrical conductor, or become overexposed to another health hazard. Be sure to consider any factors that could make a typical job step a hazardous one, such as changes in weather conditions or project plans. Refer to Appendix B for information on hazards associated with common mechanical industry job components.

- Record the potential hazards associated with the job components. For example, a worker on a ladder could be exposed to a potential fall from the ladder. The job component would be the ladder. One of the hazards would be the fall. Another example would be a worker preparing to perform electric arc welding. The job component would be electric arc welding. One of the hazards would be electric shock.

- Once you have identified the hazards for each of the job components assign safe work procedures to each job component. For example, the electric arc welder would need to use the correct size extension cord, inspect the leads for flaws in the insulation, wear the proper welding gloves, etc.

- Now piece them all together. For example if a job included an aerial lift, electric arc welding, and exposure to manganese, combine each finished set of job components/hazards/safe work procedures to create your JHA for that job.

See Appendix A for an example of a JHA using the hazards and safe work practices from Appendix B.

(ENTER JOB TITLE) Job Hazard Analysis Steps

General

(Key in the name of the individual or individuals who are responsible for conducting a Job Hazard Analysis on this project) (is or are) responsible for conducting a Job Hazard Analysis (JHA) on this project and ensuring the implementation of the corrective measures established to reduce or eliminate the hazards identified by the JHA.

Distributing and Implementing the JHA

(Key in the name of the individual or individuals who are responsible for conducting a Job Hazard Analysis on this project) will provide (key in the name of the individual at the corporate office who will be responsible for approving newly-proposed safe work procedures) with all newly-proposed safe work procedures. Once the procedures are approved, they will be distributed immediately to all company project managers, foremen, and other jobsite supervisors. The supervisors on each jobsite will be required to train all affected company employees on newly-established safe work procedures and ensure that they are implemented immediately.

JHA Follow-Up

(Key in the name of the supervisor on the project who will be responsible for observing workers who are implementing newly-established safe work procedures derived from a JHA) will observe workers performing newly-established safe work procedures to ensure that the procedures are being done correctly. (He or she) will re-train their workers, if necessary, to ensure that the new procedures are being performed correctly.

| Job Hazard Analysis Form |  |  |  |
| --- | --- | --- | --- |
| Date |  |  |  |
| Company Name |  |  |  |
| Company JHA # |  |  |  |
| Project Name |  |  |  |
| Project Phone # |  |  |  |
| Project Location |  |  |  |
| JHA Conducted by (Name,Title) |  |  |  |
| Job Analysis of (List Workers Observed) |  |  |  |
| # | Job Components in Sequence |  | Hazards |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |
| 8 |  |  |  |
| 9 |  |  |  |
| 10 |  |  |  |
| 11 |  |  |  |
| 12 |  |  |  |
| 13 |  |  |  |
| 14 |  |  |  |
| 15 |  |  |  |
| Safe Work Procedures: Control Measures to Reduce/Eliminate Potential Hazards |  |  |  |
| JHA Approved by (List Name and Title) |  |  |  |

Appendix A 
Job Hazard Analysis Example

| Job Components | Hazards | Safe Work Procedures |
| --- | --- | --- |
| Lifts (Scissors) | Fall Struck by Pinch point | - Inspect for defects - Test controls - Inform affected workers about lift operation pinch points - Use a fall restraint system/full body harness/lanyard - Move the lift only in the fully down position - Establish good housekeeping on platform decks - Use the lift only on smooth, solid, level surfaces - Use the lift only for positioning workers and small tools - Barricade the area under the lift - Prohibit the operator from running over cords, hoses, or welding leads - Maintain a clear view of the area being navigated |
| Hoist (Chain Fall) | Struck by Pinch Point | - Inspect for defects - Wear hardhat/safety glasses/gloves/protected toe boots or shoes - Barricade area under chain fall/hoist area |
| Rigging Sling (Synthetic Web) | Struck by object | - Inspect for defects - Ensure identification tag is in place and legible - Determine and observe the rated capacity - Ensure the correct type of sling is selected for the job - Protect the sling from sharp edges and softeners |
| Welding (Tig) | Electric shock Burn Fire Respiratory sensitization Welder’s flash | - Secure required permits - Inspect for defects - Ensure gas connections are snug - Wear helmet, safety glasses, welding gloves and clothing, and boots - Ensure that the proper shade of lens is used - Provide adequate ventilation - Ensure and monitor adequate oxygen/breathing air supply - Use respiratory protection when required - Inspect leads for defects - Ensure guards on stinger are in place - Ensure welding screens are in place - Barricade the work area - Remove flammable and combustible materials from the work area - Keep a fire extinguisher nearby - Ground the clamp as close to the work area as possible - Remain insulated from electrical current - Position the worker to keep fumes away from the breathing zone - Stand to one side of the flow meter when charging the bottle |
| Hexavalent Chromium | Carcinogen | - Review/observe SDS - Determine the concentration of chromium in stainless steel - Provide adequate ventilation - Position affected workers to keep fumes away from breathing zone - Use respiratory protection when needed |

Appendix B
Hazards and Safe Work Procedures for Common Job Components in Mechanical Construction

Note: MCAA recommends that workers wear hardhats, safety glasses, work gloves, and protected toe boots or shoes at all times while working on a jobsite.

| Job Components | Hazards | Safe Work Procedures |
| --- | --- | --- |
| 1. Acids | Burns Eye damage Respiratory irritant/possible chronic damage | - Review/observe SDS - Wear splash proof goggles, face shield, and impermeable gloves and clothing - Provide adequate ventilation - Use respiratory protection when needed |
| 2. Adhesives | Respiratory irritant Skin irritant | - Review/observe SDS - Wear safety glasses and impermeable gloves - Provide adequate ventilation |
| 3. Ammonia | Burns to the eye, skin, and/or lungs Corrosive Fire Potentially explosive | - Review/observe SDS - Provide adequate ventilation - Wear splash goggles, face shield, impermeable gloves, and cotton clothing - Use respiratory protection when needed - Keep away from oil/combustible materials - Keep a fire extinguisher nearby |
| 4. Asbestos | Asbestosis Lung cancer Mesothelioma | - Identify materials containing friable asbestos - Determine exposure (sample/monitor) - Provide adequate ventilation with HEPA filter collection - Use respiratory protection when needed - Establish decontamination practices - Ensure that only certified abatement personnel remove asbestos |
| 5. Cable Machine | Struck by Pinched Electric shock Soft tissue – back Spine | - Inspect the machine for defects - Inspect attachments to ensure that they are in good condition/working properly - Wear safety glasses/gloves - Use GFCI - Monitor cable slack - Prevent cable from wrapping around body parts - Use proper lifting techniques |
| 6. Carbon Monoxide | Asphyxiation | - Provide adequate ventilation - Monitor CO in excavations/enclosed spaces - Ensure that exhaust systems are well maintained |

| 7. Compressed Air | Struck by object Object in eye Injection | - Determine/observe maximum safe air pressure - Wear hardhat, safety glasses, face shield, and gloves - Ensure that hoses and attachments are properly secured - Keep air release attachments pointed in a safe direction - Never use compressed air to clean off clothing or body parts |
| --- | --- | --- |
| 8. Confined Spaces | Asphyxiation Fire Explosion Toxic exposure | - Identify/designate a competent person - Test the atmosphere for O2 level and flammable, explosive, and toxic substances - Secure permit if required - Provide adequate ventilation - Use respiratory protection when needed - Continuously monitor space - Provide a properly trained attendant - Ensure that rescue equipment is available and in place |
| 9. Copper Cutting/Prep Machine | Laceration Object in eye Electric shock | - Inspect for defects - Wear safety glasses and gloves - Use GFCI - Ensure that material is properly secured - Remove adjusting keys or switches before starting - Establish good housekeeping in the work area |

| 10. Core Drilling (Floor) | Struck by object Electric shock Trip Fall | - Inspect for defects - Identify and mark utilities and post stress tension cables - Properly size the machine and core bit - Ensure that the machine is properly leveled and anchored - Barricade the area below the drilling operation - Use GFCI - Wear a hardhat, safety glasses, gloves, and ear plugs - Properly position workers to use the machine safely - Prevent water and electric current from coming together - Immediately cover holes that are 2” or larger - Install friction rings when changing bits - Use the proper wrench when changing bits |
| --- | --- | --- |

| 11. Core Drilling (Wall) | Struck by object Electric shock Trip | - Inspect for defects - Barricade the work area on both sides of the wall - Use chain fall to lift the drill into place - Properly size the machine and core bit - Ensure that the machine is properly leveled/anchored - Ensure that leveling legs are in place - Use GFCI - Wear a hardhat, safety glasses, gloves, and ear plugs - Properly position workers to use the machine safely - Provide a continuous flow of water - Prevent water and electric current from coming together - Install friction rings when changing bits - Use the proper wrench when changing bits - Lock the slide down when the machine is moved - Use proper lifting techniques when moving the machine |
| --- | --- | --- |
| 12. Corrosives | Burns to the eyes, skin, and/or lungs | - Review/observe SDS - Provide adequate ventilation - Wear splash proof goggles, a face shield, and impermeable gloves and clothing - Ensure that the container is properly labeled - Close/seal containers when not in use |

| 13. Cut Off Tool (High Speed) | Laceration Object in eye Struck by object | - Secure required permits - Inspect for defects - Use only dual-action trigger type/no positive locking switch on tool - Ensure that the guard is in place - Ensure that the support handle is in place - Replaced the cutting wheel immediately when needed - Ensure that the cutting wheel RPMs match the tool RPMs - Ensure that the cutting wheel rotation matches the tool rotation - Ensure that locking nut is tight - Establish good housekeeping in the work area - Secure material in place before cutting - Ensure there is no pressure stored in the material being cut - Wear safety glasses, a face shield, gloves, and ear plugs - Use two hands to operate the tool - Keep the cutting wheel perpendicular to the cut - Prevent the cutting wheel from being pinched/bound by the material - Never use this tool for grinding |
| --- | --- | --- |
| 14. Drill (Hammer Drill – Electric) | Struck by Electric shock | - Inspect for defects - Ensure that the plug’s ground prong is in place - Use only in dry conditions - Protect the cord from cuts/insulation damage - Use GFCI - Ensure that guards are in place - Wear a face shield, gloves, safety glasses, and ear plugs - Ensure that the proper bit is used - Replace dull bits immediately - Establish good housekeeping in the work area - Identify hidden electrical lines, pipes, rebar, or objects - Use two hands to operate the drill - Properly position the operator to use the drill safely |
| 15. Drill Press | Laceration Object in eye Electric shock Burn | - Inspect for defects - Use GFCI - Ensure that the bit is sharp - Ensure that the bit is installed straight and tight - Wear safety glasses, gloves, ear plugs, and snug clothing - Provide adequate lighting - Ensure unrestricted access to E-stop - Set up and secure the drill table at the proper height - Keep the drill table clean - Secure/clamp the material before drilling - Set the proper drill speed - Use only the proper cutting fluid |
| 16. Duct Spray Sealer | Skin/eye damage Electric shock Respiratory sensitization | - Inspect for defects - Ensure that the plug’s ground prong is in place - Use GFCI - Wear safety glasses, a face shield, and gloves - Provide adequate ventilation - Keep pressurized discharge in a safe direction - Ensure that the nozzle tip guard is in place - Barricade the work area - Isolate overspray to prevent contact with energized electrical conductors - Engage the trigger lock when not spraying - Relieve the unit of pressure when not in use |
| 17. Excavations | Struck by Asphyxiation | - Secure the required permit - Determine/designate a competent person to oversee the work - Use a qualified utility locator service to Identify and mark utilities - Address affected power lines - Ensure that a protective system is in place, including benching, sloping, and shielding - Ensure access/egress within 25’ of every worker in the excavation - Keep the spoil pile 2’ or more from the edge of the excavation - Wear a hardhat, safety glasses, and gloves - Barricade the area around the excavation - Establish and monitor oxygen content when needed |

| 18. Extension Cord | Electric shock | - Inspect for defects - Ensure that the plug’s ground prong is in place - Use GFCI - Protect the cord from chemicals - Protect the cord from extreme heat or burns - Protect the cord from sharp edges - Protect the cord in doorways - Prevent the cord from being run over by jobsite vehicles or traffic - Ensure the cord is never hung by nails, staples, or other sharp objects - Ensure the cord is never suspended with uninsulated wire - Keep the cord away from standing water and puddles |
| --- | --- | --- |

| 19. Fiberglass | Skin irritation Respiratory sensitization | - Review and observe SDS - Wear safety goggles, a face shield, impervious gloves, and a Tyvek suit mask - Provide adequate ventilation - Wear a dust mask - Wear a respirator in place of a dust mask when needed - Remove sources of heat or ignition from the work area - Keep a fire extinguisher nearby - Secure pipe in place before cutting or grinding - Set up an airborne dust particle vacuum when cutting or sanding fiberglass - Use a coarse sanding drum on a low speed drill to reduce dust - Establish good housekeeping in the work area - Consider and address solvent spills - Seal and properly store solvents and solvent containers when not in use |
| --- | --- | --- |

| 20. Flammable/ Combustible Liquids | Fire Burn Asphyxiation Respiratory sensitization | - Use only in small quantities - Keep contained in metal cans with self-closing lids - Ensure that containers are properly labeled - Ensure that liquids are used and stored away from sources of ignition - Ground drum/bond container to drum when transferring liquid from drum to container |
| --- | --- | --- |
| 21. Forklift | Struck by Crushed by Pinched | - Inspect for defects - Test controls - Ensure that the operator is properly qualified - Wear a hardhat, safety glasses, and gloves - Use and fuel solid tire forklifts on solid, smooth surfaces - Provide adequate ventilation for internal combustion powered lifts - Properly secure the load - Check the structural integrity of pallets - Transport the load as low to the ground as possible - When not in use, park the forklift on level ground - When not in use, place the forks down, turn off the ignition off, and set the parking brake |

| 22. Fusion Machine | Lacerations Struck by Soft tissue – back, spine Carbon monoxide | - Inspect the machine for defects - Position the machine for proper clearance - Secure the machine in place - Test to ensure the machine is working properly - Maintain safe clearance when the facing tool is upward - Place the blades in the down position before start up - Ensure proper shoes are in place, clean, and free of debris - Wear a hardhat, safety glasses, and gloves - Provide adequate ventilation in the work area and control fumes - Monitor carbon monoxide in affected excavations - Use two workers to operate machine together - Properly position workers to use machine safely - Use proper lifting techniques - Clearly mark pinch points |
| --- | --- | --- |

| 23. Gantry | Struck by Pinched | - Inspect for defects - Wear a hardhat, safety glasses, and gloves - Make affected workers aware of pinch points - Communicate movement during operation, assembly, and disassembly - Keep the wheels clean - Install roof protection - Inspect sling/shackles for defects and proper capacity rating |
| --- | --- | --- |

| 24. Gas Cylinders (Compressed Gas) | Fire Explosion Struck by Soft tissue – back, spine | - Use proper manual material handling techniques - Move cylinders in wheeled cylinder carts - Secure cylinders in the upright position - Inspect for defects - Keep caps in place until cylinders are ready for use - Inspect valves, hoses, and torch for defects - Clean the torch tip - Clean (pop) cylinder valves before attaching the regulator - Check hoses and valves for leaks - Remove flammable/combustible materials from the work area - Keep a fire extinguisher nearby - Leave wrenches on cylinder valves while in use - Use only friction lighters for ignition - Keep cylinders a safe distance from sources of excessive heat or ignition - Keep cylinders out of confined spaces - Close valves, bleed hoses, and replace caps when finished - Keep oxygen cylinders separate from fuel gas cylinders when storing |
| --- | --- | --- |
| 25. Generators (Portable) | Electric shock Carbon monoxide Fire | - Inspect for defects - Provide adequate ventilation - Shut off before refueling - Ensure the unit is properly grounded |

| 26. Glycol | Skin irritation Eye irritation Organ damage (chronic exposure) Soft tissue – back, spine | - Wear safety goggles, a face shield, and impermeable gloves and suit - Use drum carts for handling drums - Provide adequate ventilation - Review/observe SDS - Properly dispose of used glycol |
| --- | --- | --- |
| 27. Grinder (Bench) | Laceration Abrasion Object in eye Electric shock Burns | - Inspect for defects - Ensure guards/shields are on unit - Ensure guards/shields are properly positioned - Set tool rests within 1/8” of wheel surfaces - Provide adequate lighting - Ensure that the plug’s ground prong is in place - Use GFCI - Ensure the correct wheels are installed - Ensure that the maximum RPM of the wheels is greater than or equal to the maximum RPM of the grinder - Ensure wheels are tight - Ensure wheels are clean and in good condition - Wear safety glasses, a face shield, gloves, ear plugs, and proper clothing - Remove flammable/combustible materials from the work area - Keep a fire extinguisher nearby - Unplug the unit before making adjustments or changing wheels |

| 28. Grinder (Saddle Grinder) | Laceration Abrasion Object in eye Electric shock Burns | - Inspect for defects - Ensure that the plug’s ground prong is in place - Use GFCI - Replace the belt when it becomes worn or torn - Keep belt tension properly adjusted/monitored - Ensure that guards are in place and properly positioned - Wear safety glasses, a face shield, gloves, ear plugs, and proper clothing - Secure the piece being saddled - Monitor the belt and keep it in place while grinding - Remove burrs from pipe - Turn the power and breaker switches off before working on or adjusting the grinder - Establish good housekeeping in the work area |
| --- | --- | --- |

| 29. Grinder (Tungsten) | Laceration Abrasion Object in eye Electric shock Burns | - Secure required permits - Inspect for defects - Ensure that the plug’s ground prong is in place - Use GFCI - Ensure that the jig and grinding wheel are tight - Ensure that guards are in place and properly positioned - Wear safety glasses, a face shield, gloves, and ear plugs - Remove flammable/combustible materials from the work area - Keep a fire extinguisher nearby - Secure tungsten in the holder - Insert tungsten in the proper diameter guide - Turn the power and breaker switches off before working on or adjusting the grinder - Establish good housekeeping in the work area |
| --- | --- | --- |

| 30. Groover Machine | Electric shock Pinch point Laceration | - Inspect for defects - Use GFCI - Use the proper size/condition extension cord - Wear safety glasses, gloves, protected toe boots, and snug clothing - Use the machine on level, firm ground - Anchor the machine when required by the manufacturer - Keep the work area well lit - Check the machine daily before use - Use an adequate number of workers - Ensure operation is by foot switch only - Make the operator aware of moving parts - Establish good housekeeping in the work area - Use a mechanical method to manage large pipe - Support work with adjustable/mobile pipe stands - Re-check setup after changing dyes |
| --- | --- | --- |

| 31. Helicopter (Hoisting by Helicopter) | Struck by Object in eye Crash | - Establish/review rigging signals - Ensure helicopter crew reviews rigging procedures/hoist area - Verify the weight of the unit/load - Conduct a pre-lift meeting with riggers, pilot, and crew - Wear a hardhat with chin strap, mono-goggles, gloves, and appropriate clothing - Provide an adequate number of workers for the process - Clear all loose material off the roof - Ensure that rooftop fall prevention/protection is in place - Keep workers clear of the elevated load at all times - Ensure proper dissipation of static electrical charge - Establish barricades around the hoist area - Determine whether weather conditions are suitable for the lift |
| --- | --- | --- |
| 32. Hexavalent Chromium | Carcinogen | Review/observe SDS Determine the concentration of chromium in stainless steel Provide adequate ventilation Position affected workers to keep fumes away from breathing zone Use respiratory protection when needed |

| 33. Hi-Jacker | Struck by Crushed by Pinched | - Inspect for defects - Wear safety glasses, gloves, and protected toe boots - Keep wheels clean - Make the operator and affected workers aware of pinch points |
| --- | --- | --- |
| 34. Hoist (Duct Hoist) | Struck by object Struck against object Crushed by object Pinched | - Ensure that the hoist is properly sized for the job - Inspect for defects - Ensure that wheels and cables are in good condition and working properly - Establish and observe the manufacturer’s rated capacity - Use a bottle holder for air hoists - Extend outrigger - Prohibit electric drill use for raising hoist - Stabilize the load before the lift - Use tie down straps/clamps when needed - Use cradles for round ducts - Never leave a load unattended in the raised position - Prohibited modifications to the hoist - Establish good housekeeping in the hoist area - Use the hoist only on flat/level work areas |
| 35. Hoist (Chain Fall) | Struck by Pinch Point | - Inspect for defects - Wear hardhat/safety glasses/gloves/protected toe boots or shoes - Barricade area under chain fall/hoist area36. |
| 36. Hoist (Come Along/ Chain Hoist) | Struck by object Struck against object Crushed by object Pinched | - Ensure that the hoist is properly sized for the job - Inspect for defects - Ensure that the attachment/anchor point is capable of handling the load - Determine and observe the manufacturer’s rated capacity - Wear safety glasses, gloves, and protected toe boots - Barricade the work area - Ensure that the Come Along is in the correct gear - Establish good housekeeping in the hoist area |
| 37. Hoisting (Material) | Fall Struck by object Struck against object Crushed by object Pinched Electric shock | - Inspect for defects - Wear safety glasses, gloves, high visibility vest - Ensure that a fall prevention/protection system is in place when needed - Keep loads/load lines 10’ or more away from energized electrical conductors - Establish hoist equipment load limits - Establish good housekeeping in the work area - Use load platforms when needed - Barricade the hoist area - Make affected people in the area aware of the operation - Ensure that the signal person and operator agree upon and understand signals |
| 38. Hydrostatic Testing | Struck by object Object in eye | - Secure required permit - Notify other affected trades - Wear safety glasses, a face shield, gloves, and proper clothing - Barricade the work area - Isolate equipment - Ensure that hoses and pipe are rated for the anticipated test pressure - Ensure that all welds are free of insulation - Visually inspect all pipe welds - Ensure that gauges are inspected and calibrated - Ensure that test gauges range from 1½ to 4 times test pressure - Use a gauge at the pressure source - Use a gauge at the highest or furthest point from the pressure source - Ensure that vents have been installed to blow off air - Ensure that drains have been installed - Ensure that the hold time is enough to steady the pressure and walk line - Increase test pressure in increments of 20% or less - Ensure that the gauge is stable before increasing pressure - Consider and address affected energized electrical conductors |
| 39. Jack Hammer (Electric) | Struck by Soft tissue – back, shoulder, spine Hernia | - Inspect for defects - Ensure that the operator has reviewed the manufacturer’s instructions - Wear safety glasses, a face shield, gloves, ear plugs, and proper clothing - Identify and mark utilities - Confirm that no soil hazards are present - Confirm that pulverized material won’t create a hazardous atmosphere - Ensure that bits are sharp and in good condition - Use GFCI - Ensure that attachments are locked into the unit - Barricade the work area |
| 40. Jack Hammer (Pneumatic) | Struck by Soft tissue – back, shoulder, spine Hernia | - Inspect for defects - Ensure that the operator has reviewed the manufacturer’s instructions - Wear safety glasses, a face shield, gloves, ear plugs, and proper clothing - Identify and mark utilities - Confirm that no soil hazards are present - Confirm that pulverized material won’t create a hazardous atmosphere - Ensure that bits are sharp and in good condition - Ensure that the air supply is disconnected before connecting or disconnecting tools - Ensure that air hose connections are secured - Ensure that attachments are locked into the unit - Barricade the work area |
| 41. Ladder (Portable Straight) | Fall Contact with electrical conductor | - Inspect for defects - Ensure that the support surface is firm, level, and non-slippery - Set up at proper 4 to 1 pitch - Extend at least 3’ above the landing - Secure in place, tie at top and/or brace at bottom - Consider and avoid contact with energized electrical conductors - Use non-conductive ladders around energized electrical conductors - Ensure rungs are free of ice, mud, and slippery substances - Maintain 3-point contact at all times while climbing - Stay off the top two rungs while climbing or working - Keep the belt buckle inside the ladder side rails to avoid reaching too far - Never carry tools, materials, or objects while climbing |
| 42. Ladder (Stepladder) | Fall Contact with electrical conductor | - Inspect for defects - Ensure support surface is firm, level, and non-slippery - Consider and avoid contact with energized electrical conductors - Use non-conductive ladders around energized conductors - Ensure steps are free of ice, mud, and slippery substances - Never use stepladder as a straight ladder - Maintain 3-point contact at all times while climbing - Stay off the top two steps while climbing or working - Keep the belt buckle inside the ladder side rails to prevent reaching too far - Never carry tools, materials, or objects while climbing |
| 43. Laser | Eye damage | - Keep laser beam controlled and in a safe direction - Wear anti-laser eye protection - Consider and address reflected laser light - Consider and address the safety of other affected workers/trades |
| 44. Lead | Organ damage Nervous system problems Reproductive system problems | - Identify lead containing materials - Establish and monitor exposure - Provide adequate ventilation - Use respiratory protection when needed - Wear protective clothing - Establish and use proper decontamination practices |
| 45. Lifts (Articulating Boom – Electric) | Fall Struck by Pinch point | - Inspect for defects - Test controls - Ensure the battery is charged - Inform affected workers about lift operation pinch points - Use a fall restraint system/full body harness/lanyard - Move the lift only in the fully down position - Establish good housekeeping on platform decks - Use the lift only on smooth, solid, level surfaces - Maintain a clear view of the area being navigated |
| 46. Lift (Boom Lift) | Fall Struck by Carbon monoxide | - Inspect for defects - Wear full body harness/lanyard/fall restraint system - Establish good housekeeping on platform decks - Use the lift only on solid, level ground - Determine/observe rated capacity - Use only for positioning workers/tools/equipment - Ensure that all tools and equipment fit within the basket - Barricade the area under the lift - Ensure a clear view of the work area for lift navigation - Turn off gas powered lifts immediately after they are positioned inside the structure - Provide adequate ventilation |
| 47. Lifts (Scissors) | Fall Struck by Pinch point | - Inspect for defects - Test controls - Inform affected workers about lift operation pinch points - Use a fall restraint system/full body harness/lanyard - Move the lift only in the fully down position - Establish good housekeeping on platform decks - Use the lift only on smooth, solid, level surfaces - Use the lift only for positioning workers and small tools - Barricade the area under the lift - Prohibit the operator from running over cords, hoses, or welding leads - Maintain a clear view of the area being navigated |
| 48. LP Gas | Fire Respiratory Sensitizer Asphyxiant | - Review and observe the SDS - Inspect the cylinder for leaks - Ensure the excess flow valve is on the cylinder - Inspect valves, connectors, manifold valve assemblies, hoses, and regulators - Provide adequate ventilation - Remove flammable and combustible materials from the area - Keep a fire extinguisher nearby |
| 49. Material Handling (Manual) | Soft tissue – back, spine Hernia Shoulder Laceration Pinch point Fall Struck by | - Deliver materials as close to the work area as possible - Use lifting and moving equipment whenever possible - Wear safety glasses and gloves - Use proper lifting techniques - Make affected workers aware of pinch points and sharp edges - Stage materials at waist level - Establish good housekeeping in the work area - Ensure an adequate number of workers for lifting and carrying |
| 50. Manganese | Nervous system problems | - Review and observe the SDS - Provide adequate ventilation - Position workers to keep welding fumes away from the breathing zone - Use respiratory protection when needed |
| 51. Pipe Stand | Struck by | - Inspect for defects and structural integrity - Install locking washer and bolt - Use only on firm, level ground - Use only within the designated height - Establish the weight of the materials - Establish and observe the weight capacity of the stand - Wear safety glasses and gloves - Loosely secure pipe to the understructure/roustabout - Use auxiliary pipe stands while moving the original stands - Use wide base stands in place of tripod stands for pipe over 4” diameter |
| 52. Plasma Cutting | Electric shock Burn Welder’s flash Fire | - Secure required permit - Establish the proper voltage - Inspect leads for defects - Wear a welding helmet, welder’s gloves, acceptable clothing, and ear plugs - Use a #10 shaded lens at a minimum - Maintain adequate ventilation in the work area - Remove flammable and combustible materials from the work area - Use fire blankets and/or welding screens to contain sparks - Keep a fire extinguisher nearby - Assign a fire watch for at least 30 minutes after cutting is complete |
| 53. Pneumatic Testing | Struck by object Object in eye | - Secure required permit - Notify other affected trades about operation - Wear safety glasses, a face shield, gloves, and proper clothing - Barricade the work area - Isolate the equipment - Identify the operating pressure - Ensure that all welds are free of insulation - Visually inspect all pipe welds - Inspect and calibrate all gauges - Ensure that test gauges range from 1½ to 4 times test pressure - Use a gauge at the pressure source - Use a gauge at the highest or furthest point from the pressure source - Use a pressure relief valve for tests of 100 psi or more/1-hour plus hold - Isolate branch lines where applicable - Use blow down valves when branch lines are isolated - Ensure blow down valves are installed in the proper location - Ensure hoses are properly rated - Keep hold times to a minimum, steady pressure and walk the line - Increase test pressure in increments of 20% or less - Ensure the gauge is stable before increasing pressure |
| 54. Power Washer | Laceration Eye damage Electric shock | - Inspect for defects - Ensure that the plug’s ground prong is in place - Use GFCI - Wear safety glasses, a face shield, rubber gloves, boots and a rain suit - Review/observe SDS when chemicals are used - Consider and monitor wind direction - Properly set and monitor pressure |
| 55. Powder Actuated Tools | Puncture Eye damage | - Ensure that operator has specialized powder actuated tool training, and the appropriate license when required - Inspect for defects - Wear safety glasses, a face shield, gloves, and ear plugs - Inform/alert others in the work area before firing - Keep action pointed in a safe direction - Select the most appropriate power setting - Make the operator aware of the potential for ricochets - Ensure that the operator knows not to move the tool for 30 seconds after a misfire |
| 56. Propress | Soft tissue – back, spine Hernia Electric shock Pinch point Laceration | - Inspect for defects - Use proper lifting techniques - Use proper work posture - Consider and address pinch points - Use GFCI - Wear safety glasses, gloves, snug clothing |
| 57. Pumps (Sewage Ditch Electric) | Electric shock Struck by | - Inspect for defects - Ensure that the plug’s ground prong is in place - Use GFCI - Wear safety glasses and gloves - Lower pump by rope - Ensure the area directly under the pump is vacant when lowering the pump - Immediately disinfect a pump used on a sanitary system |
| 58. Pumps (Sewage Ditch Gasoline) | Struck by Carbon monoxide | - Inspect for defects - Wear safety glasses and gloves - Lower the pump by rope - Ensure the area directly under the pump is vacant when lowering the pump - Ensure ditch is properly ventilated and monitored - Immediately disinfect a pump used on a sanitary system |
| 59. Roof Top Work | Fall Struck by object Electric shock | - Wear safety glasses, gloves, rubber boots, and fall protection equipment - Tie off and secure the access ladder - Establish fall prevention/protection - Identify and address skylights, hatches, and other fall hazards - Wear arc flash protective equipment when working on energized units - Implement lockout/tagout when required - Identify and address slip/trip hazards |
| 60. Rigging (Chokers) | Struck by object | - Calculate the weight of the load - Select the proper size/load rating - Ensure the load rating tag is attached and legible - Inspect nylon for cuts, tears, and worn eyes and threads - Inspect the cable for kinks, wickers, rusting, and deterioration - Ensure shackles are properly sized and rated - Inspect shackles for defects/original pins only - Ensure shackle pins are not resting on the hook - Arrange shackles to prevent side-loading - Ensure the spreader bar is load rated and certified - Use softeners to protect chokers from sharp or angled edges - Ensure softeners are properly sized |
| 61. Rigging (Power Rigging- Hand Crabs) | Struck by Crushed by Pinched | - Inspect for defects - Inspect rigging equipment for proper function - Ensure rigging equipment is properly sized - Wear safety glasses, gloves, and protected toe boots - Ensure proper attachment to the beam - Ensure cable is tracking properly on the drum - Ensure base is concrete anchored with a backup plate - Ensure a stop is present on the beam - Ensure the load line is free and clear - Ensure snatch blocks are the proper size - Consider and address the proper location of the snatch blocks - Ensure adequate anchoring for sheaves - Ensure the locking device is secured - Notify other affected trades - Barricade the hoist area - Establish good housekeeping in the hoist area |
| 62. Rigging (Power Rigging Pipe) | Struck by Crushed by Pinched | - Evaluate the hoist area - Ensure rigging equipment is properly sized - Inspect rigging equipment for defects - Notify other affected trades - Barricade the hoist area - Wear safety glasses, gloves, and protected toe boots - Identify and address pinch points - Establish good housekeeping in the hoist area - Test load/ensure center of gravity is addressed |
| 63. Rigging Sling (Alloy Steel Chain) | Struck by object | - Inspect for defects - Ensure identification tag is in place and legible - Determine and observe the rated capacity - Ensure the correct type of sling is selected for the job |
| 64. Rigging Sling (Natural – Synthetic Fiber) | Struck by object | - Inspect for defects - Ensure identification tag is in place and legible - Determine and observe the rated capacity - Ensure the correct type of sling is selected for the job - Protect the sling from sharp edges and softeners |
| 65. Rigging Sling (Synthetic Web) | Struck by object | - Inspect for defects - Ensure identification tag is in place and legible - Determine and observe the rated capacity - Ensure the correct type of sling is selected for the job - Protect the sling from sharp edges and softeners |
| 66. Rigging Sling (Wire Rope) | Struck by object | - Inspect for defects - Ensure identification tag is in place and legible - Determine and observe the rated capacity - Ensure the correct type of sling is selected for the job - Protect the sling from sharp edges, corners, and softeners Ensure that each leg is secured at the hook - Use a shackle with choker hitches |
| 67. Sander (Bench) | Abrasion Object in eye Electric shock Burn Fire | - Inspect for defects - Ensure guards and shields are in place and properly positioned - Ensure tool rests within 1/8” of the wheel surface - Ensure back sweeps within 1/4” of the wheel surface - Ensure adequate lighting - Ensure that the plug’s ground prong is in place - Use GFCI - Ensure correct belt and disk are in place - Ensure that the maximum RPM of the wheels is greater than or equal to the maximum RPM of the sander - Ensure belts and disks are tight - Ensure belts and disks are clean and in good condition - Wear safety glasses, a face shield, gloves, ear plugs, and snug clothing - Remove flammable and combustible materials from the work area - Keep a fire extinguisher nearby - Unplug the sander before making adjustments or changing belts and disks |
| 68. Saw (Chop Saw) | Laceration Electric shock | - Inspect for defects - Ensure that the plug’s ground prong is in place - Use the saw only in dry conditions - Protect the cord from cuts and insulation damage - Use GFCI - Ensure the guard is in place - Wear a face shield, gloves, safety glasses, and ear plugs - Select the proper blade - Replace worn blades immediately - Establish good housekeeping in the work area |
| 69. Saw (Circular Saw – Bench/Hand Held) | Laceration Object in eye Electric shock | - Inspect for defects - Select the proper blade for the material - Ensure blade RPM is correct for the saw - Ensure the guard is in place and properly adjusted - Adjust the blade to the proper depth - Leave base mounted saws on the base - Wear safety glasses, a face shield, gloves, and ear plugs - Remove flammable and combustible materials from the work area - Use GFCI - Secure material in place - Ensure the blade is free from material before starting the saw - Use two hands to operate the saw - Consider and monitor the position of the power cord while cutting - Unplug the saw before changing the blade or servicing it |
| 70. Saw (Porta Band Saw) | Laceration Object in eye Electric shock | - Inspect for defects - Ensure guards are in place - Use GFCI - Wear safety glasses, gloves, and ear plugs - Use two hands to operate the saw - Establish good housekeeping in the work area - Secure material in place before cutting - Position yourself to use the saw safely - Keep feet and hands clear of operation - Unplug before maintaining the saw or changing the blade |
| 71. Saw (Cut Off) | Laceration Object in eye Electric shock Burns | - Inspect for defects - Secure the saw and base - Ensure guards are properly placed - Set the proper cutting depth - Use GFCI - Wear safety glasses, gloves, ear plugs, and snug clothing - Ensure adequate ventilation - Ensure good housekeeping in the work area - Consider the extension cord’s location before cutting - Unplug before changing the blade or performing maintenance |
| 72. Saw (PDQ Saw – Electric) | Laceration Electric shock | - Inspect for defects - Wear safety glasses, a face shield, ear plugs, and snug clothing - Establish good housekeeping in the work area - Use GFCI - Ensure the blade is in good condition |
| 73. Saw (PDQ Saw – Gas) | Laceration Fire | - Inspect for defects - Wear safety glasses, a face shield, ear plugs, and snug clothing - Establish good housekeeping in the work area - Keep a fire extinguisher nearby - Store gas at least 25’ from the saw and work area - Provide adequate ventilation in the work area/control fumes - Ensure the blade is in good condition |
| 74. Sawzall | Laceration Object in eye Electric shock | - Inspect for defects - Ensure guards are in place - Use GFCI - Wear safety glasses, gloves, and ear plugs - Ensure the blade is properly inserted and locked in place - Use two hands used to operate the saw - Establish good housekeeping in the work area - Properly secure the material being cut - Position the operator to safely use the saw - Keep feet and hands clear of operation - Use the safety lock when not cutting - Disconnect from the power source before performing maintenance or blade changes - Check head room |
| 75. Scaffold (Mobile) | Fall from scaffold Fall with scaffold | - Establish/designate a competent person to oversee erection and dismantling - Perform a daily inspection - Inspect for defects, incompatible parts, and improper erection - Ensure the scaffold will support at least 4 times the intended load - Use only on solid, level ground - Use top rails, mid rails, and toe boards when the work platform is 10’ or higher - Ensure the scaffold it properly tagged - Establish good housekeeping on work platforms - Inspect the ground for holes, cracks, debris, and encumbrances - Ensure wheels are locked before climbing - Never move a scaffold with anyone onboard |
| 76. Scaffold (Supported) | Fall from scaffold Fall with scaffold | - Establish/designate a competent person to oversee erection and dismantling - Perform a daily inspection - Ensure the scaffold is erected at least 10’ from power lines - Inspect for defects, incompatible parts, and improper erection - Ensure the scaffold will support at least 4 times the intended load - Erect only on firm ground - Erect on base plates, mud sills, or other firm foundations - Use top rails, mid rails, and toe boards when the work platform is 10’ or higher - Ensure the scaffold is properly tagged - Establish good housekeeping on work platforms - Ensure a ladder or other proper scaffold access is in place - Tie to a structure when the height is more than 4 times the width of the base - Ensure the scaffold is never overloaded |
| 77. Silica | Silicosis Suspect carcinogen | - Provide adequate ventilation - Use dust collection cups with masonry drill bits - Use wet method or vacuum with HEPA filter when cutting concrete - Use respiratory protection when needed |
| 78. Smoke Machine | Respiratory sensitization Eye irritation Fire | - Review and observe SDS - Provide adequate ventilation - Wear safety glasses, gloves, and proper clothing - Determine and set proper pressure level - Establish emergency exits - Keep a fire extinguisher nearby |
| 79. Soldering (Silver Soldering) | Burn Fire Respiratory sensitization | - Secure required permit - Remove flammable and combustible materials - Ensure adequate ventilation - Keep a fire extinguisher nearby - Wear safety glasses, gloves, and proper clothing - Identify and isolate the contents of area pipelines - Complete required purging - Implement lockout/tagout where required - Secure oxygen and acetylene cylinders in the upright position - Secure B-tanks in the upright position - Turn off gas cylinders and tanks when leaving the area - Assign fire watch for at least 30 minutes after operation is complete - Shut down and cap oxygen and acetylene cylinders when work is completed |
| 80. Solvents | Fire Skin irritant Central nervous system Depression | - Review and observe SDS - Provide adequate ventilation - Wear splash proof goggles, a face shield, and impermeable gloves and clothing - Close containers when not in use - Isolate from ignition sources - Keep a fire extinguisher nearby - Ensure containers are properly labeled |
| 81. Stair Walker | Struck by Pinched | - Inspect for defects - Wear safety glasses and gloves - Barricade the stairwell - Ensure tires are properly inflated - Ensure battery is charged - Secure straps - Ensure that affected workers receive the proper training - Ensure affected workers are above the load - Inform affected workers about pinch points - Assign at least two workers to the task |
| 82. Stored Energy | Electric shock Struck by object Object in eye | - Identify stored energy - Turn off, block, and isolate sources of energy - Release/relieve stored energy - Lock out the source of energy - Ensure the worker who locked out is the only one who can remove the lock |
| 83. T-Puller | Struck by object Electric shock Object in eye | - Inspect for defects - Wear safety glasses, gloves, and snug clothing - Use GFCI |
| 84. Tools (Hand Tools) | Laceration Puncture Broken bone Gouge Struck by object | - Inspect for defects - Ensure handle is tight - Wear safety glasses, gloves, and protected toe boots - Ensure the tool is clean, dry, and non-slippery - Ensure cutting tools are sharp |
| 85. Torch Cutting | Burn Fire Explosion | - Secure required permit - Remove flammable and combustible materials - Keep a fire extinguisher nearby - Ensure the work area is properly ventilated - Secure gas cylinders in the upright position - Inspect valves, gauges, hoses, and torch for defects - Ensure gauges are equipped with reverse flow check valves - Keep hoses and gauges away from oil - Wear cutting goggles, gloves, a face shield, and appropriate clothing - Equip cutting goggles with #5 shaded lenses or face shield with #5 shaded lens - Cap and properly store cylinders when not in use - Only use a striker to ignite the torch - Assign a fire watch for at least 30 minutes after cutting is complete |
| 86. Walker/Stacker | Struck by Crushed by Pinched | - Inspect for defects - Ensure the fork length is considered and adequate - Wear safety glasses, gloves, and protected toe boots - Ensure the travel path is clear - Ensure ramps are gradual enough to keep wheels on the ground - Ensure the load is secure and balanced - Keep the load low during travel - Use a ratchet binding strap or equivalent when raising the load |
| 87. Welding (Electric Arc) | Electric shock Burn Fire Respiratory sensitization Welder’s flash | - Secure required permits - Inspect for defects - Wear a helmet, safety glasses, welding gloves and clothing, and boots - Ensure the proper shade of lens is used - Provide adequate ventilation - Use respiratory protection when required - Use the proper size extension cord - Inspect the extension cord for defects - Inspect leads for defects - Ensure welding screens are in place - Barricade the work area - Remove flammable and combustible materials from the work area - Keep a fire extinguisher nearby - Position affected workers to keep fumes from the breathing zone - Turn off the machine before fueling - Use a metal bucket for discarding electrodes - Keep a fire extinguisher nearby - Assign a fire watch for at least 30 minutes after cutting is complete |
| 88. Welding (Orbital) | Electric shock Burn Fire Respiratory sensitization | - Secure required permit - Inspect for defects - Ensure gas connections are snug and check for leaks - Wear safety glasses and gloves - Review and observe material SDS - Provide adequate ventilation - Use GFCI - Keep a fire extinguisher nearby |
| 89. Welding (Tig) | Electric shock Burn Fire Respiratory sensitization Welder’s flash | - Secure required permits - Inspect for defects - Ensure gas connections are snug - Wear helmet, safety glasses, welding gloves and clothing, and boots - Ensure that the proper shade of lens is used - Provide adequate ventilation - Ensure and monitor adequate oxygen/breathing air supply - Use respiratory protection when required - Inspect leads for defects - Ensure guards on stinger are in place - Ensure welding screens are in place - Barricade the work area - Remove flammable and combustible materials from the work area - Keep a fire extinguisher nearby - Ground the clamp as close to the work area as possible - Remain insulated from electrical current - Position the worker to keep fumes away from the breathing zone - Stand to one side of the flow meter when charging the bottle |
| 90. Zinc | Respiratory sensitization Zinc fume fever | - Provide adequate ventilation - Position worker to keep fumes away from the breathing zone - Use respiratory protection when needed |

Appendix C
Signature Page

DISCUSSION VERIFICATION

Prior to beginning work, the [INSERT CUSTOMER NAME] Safety and Environmental Director or his designee met with and reviewed the [INSERT COMPANY NAME].’s Safety Practices Guidelines with the Company’s representative.

[INSERT COMPANY NAME]’s representative assures that the Company’s site supervisor or subcontractor's site supervisor will be fully aware of the safety practices.

[Insert Company]							[INSERT COMPANY NAME]

_______________________________________					______________________________________

[Insert Representative’s Name]						[Insert Employee Name]

_______________________________________ 					_______________________________________

Date									Date

| Job Hazard Analysis Form |  |  |  |
| --- | --- | --- | --- |
| Date |  |  |  |
| Project Name |  |  |  |
| Project Number |  |  |  |
| Project Location |  |  |  |
| JHA Conducted by (Name,Title) |  |  |  |
| Signature |  |  |  |
| # | Job Components in Sequence |  | Hazards |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |
| 8 |  |  |  |
| 9 |  |  |  |
| 10 |  |  |  |
| 11 |  |  |  |
| 12 |  |  |  |
| 13 |  |  |  |
| 14 |  |  |  |
| 15 |  |  |  |
| 16 |  |  |  |
| 17 |  |  |  |
| 18 |  |  |  |
| 19 |  |  |  |
| 20 |  |  |  |
| Safe Work Procedures: Control Measures to Reduce/Eliminate Potential Hazards |  |  |  |
| JHA Approved by (List Name and Title) |  |  |  |

Job Hazard Analysis Form – Signature Page

| Date |  |
| --- | --- |
| Company Name |  |
| Company JHA # |  |
| Project Name |  |

| Printed Name | Signature | Organization |
| --- | --- | --- |