| PSG Representative: | Date: |  |
| --- | --- | --- |
| Prospective project: | Branch: |  |

Place a check () in the appropriate box. Use all the information gathered to propose how to perform this job safely.

YES	           NO	  Comments/Controls Recommended

• Will there be roof top activities?				O		O

• If yes, portable ladder acces?				O		O

Is there an access area for the ladder?	O		O

• Fixed ladder access 24' or taller?				O		O

If fixed ladders over 24' are used, do they have:

Cages?					O		O

Travel system?				O		O

Fall Restraint?				O		O

Need a solution?				O		O

• Is there a roof hatch access?				O		O

If yes, can the hatch be closed?			O		O

If no, does it have a guardrail system?		O		O

Closer than 15’ to the edge?			O		O

• Unprotected skylights?					O		O

If yes, do you recommend:

Protective cage, cover or net?		O		O

Barricades?				O		O

Tie off point?				O		O

Is it possible to stay 15' away?		O		O

• HVAC unit(s) located 0'-6' from an edge or opening?		O		O

If yes, is there a guardrail system in place?		O		O

Is there a parapet wall 39" or higher?		O		O

Is there an approved anchor point to connect to?	O		O

Is there another solution required?			O		O

• HVAC unit(s) located 6'-15' from an edge or opening?	O		O

If yes, is there a guardrail system in place?		O		O

Is there a parapet wall 39" or higher?		O		O

Is there an approved anchor point to connect to?	O		O

Can a warning line be used?			O		O

Is there another solution required?			O		O

• Will any of our tasks create a hole that needs to be covered?	O		O

If yes, can it be covered and support 2x the weight?	O		O

Does it need to be barricaded?			O		O

Do workers need to be tied off to an anchor point?	O		O

• Will there be confined spaces that need to be entered?	O		O

• Will LOTO be required?					O		O

• Will this task require a Qualified Electrician? Testing?	O		O

• Are all areas accessesible?				O		O

• Any tasks that may require a respirator?			O		O

• Will any task require 2 or more workers? (50# solo lift)	O		O

• Is there additional lighting needed?			O		O

• Is there any Rigging? Qualified riggers needed?		O		O

• Any Cell Towers? RF dangers? (within 6’)			O		O

Other concerns that need to be addressed: