| Complex LOTO |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Building: |  | Room/Area: |  |  |  |  |  |  |  |  |  |
| Job Supervisor: |  |  |  |  | Date Start: |  |  |  |  | Expiration Date: |  |
| Description of work to be done: |  |  |  |  |  |  |  |  |  |  |  |
| Description of Circuit/Equipment: |  |  |  |  |  |  |  |  |  |  |  |
| Energy Sources: Electrical Steam Hydraulic Pneumatic Gas Stored Energy (Kinetic) Other: |  |  |  |  |  |  |  |  |  |  |  |
| REMEMBER that it is not safe to work on a piece of equipment or panel until it has been VERIFIED that it is de energized! To verify its de energized state, Shock & ARC rated PPE may be REQUIRED! |  |  |  |  |  |  |  |  |  |  |  |
| Results of Shock Hazard Analysis (NFPA-70E 2018 Table 130.4(D)(a) |  |  |  |  |  |  |  |  |  |  |  |
| Voltage: |  | Glove Voltage: |  |  |  | Gloves inspected within 6 months?: Yes No |  |  |  |  |  |
| Limited Approach Boundary: |  |  | Restricted Approach Boundary: |  |  |  |  | Arc Flash Boundary: |  |  |  |
| Results of Arc Flash Hazard Analysis (NFPA-70E 2018 130.7(C)(15)(A)(b) or Annex D |  |  |  |  |  |  |  |  |  |  |  |
| Risk Category Required: |  |  |  | Category Being used: |  |  |  |  |  |  |  |
| All Natural Fiber Outerwear (Cotton, no poly) |  |  |  |  |  |  |  |  |  |  |  |
|  | Cal/cm2 |  |  |  |  |  | JHA filled out and discussed? Yes No |  |  |  |  |
| Required Additional PPE: |  |  |  |  |  |  |  |  |  |  |  |
| Safety Checklist (Verify that proper controls are in place): |  |  |  |  |  |  |  |  |  |  |  |
| Workers must be trained, qualified, in NFPA 70e, CPR and have full knowledge of equipment. |  |  |  |  |  |  |  |  |  |  |  |
| Insulated tools and equipment required. Cat 3 or 4 Voltage Meter being used? |  |  |  |  |  |  |  |  |  |  |  |
| Remove all jewelry and metal apparel. Watches, rings, piercings etc. |  |  |  |  |  |  |  |  |  |  |  |
| Barricades and warning signs in place? |  |  |  |  |  |  |  |  |  |  |  |
| Have all affected employees been notified? |  |  |  |  |  |  |  |  |  |  |  |
| Has the GC or Owner been notified? Is their signature below? This shows they are aware of the work. |  |  |  |  |  |  |  |  |  |  |  |
| Has the LOTO log been completed? All energy sources dissipated/de energized? |  |  |  |  |  |  |  |  |  |  |  |
| APPROVALS |  |  |  |  |  |  |  |  |  |  |  |
| Hazard analysis performed by: |  |  |  |  |  |  |  |  |  |  | Date: |
| Job Supervisor: |  |  |  |  |  |  |  |  |  |  | Date: |
| GC or Owner: |  |  |  |  |  |  |  |  |  |  | Date: |
| AUTHORIZED WORKERS that understand and agree to the above: |  |  |  |  |  |  |  |  |  |  |  |
| Printed or typed name(s): |  |  |  | Signature(s) |  |  |  |  | Date(s) |  |  |
| LOTO LOG |  |  |  |  |  |  |  |  |  |  |  |
| Employee and Lock # |  |  |  | Location |  |  |  |  | Date Installed/Removed |  |  |